PUBLIC NOTICE

Minimum Residual Treatment Technique Violation

The Texas Commission on Environmental Quality sets drinking water standards and has determined that the presence of microbiological contaminants is a health concern at certain levels of exposure.  If water is inadequately treated, microbiological contaminants in that water may cause disease.  Disease symptoms may include diarrhea, cramps, nausea, and possibly jaundice, and any associated headaches and fatigue.  These symptoms, however, are not always associated with disease-causing organisms in drinking water, but may also be caused by a number of factors other than your drinking water.  The TCEQ has set enforceable requirements for treating drinking water to reduce the risk of these adverse health effects.  Treatment such as filtering and disinfecting removes or destroys microbiological contaminants.  Drinking water that is treated to meet the TCEQ requirements is associated with little to none of this risk and should be considered safe.  The City of Tye failed to meet the minimum treatment techniques for the months of March, June, September and December, 2013.  Specifically, our water system failed to maintain an acceptable disinfectant residual throughout the distribution system for two consecutive months.

Posted April 7, 2014